## Framework
SOC 47-2111.00 · LER.me Competency Framework
Electricians
Job Zone 3 · O*NET group: Construction & Extraction
Install, maintain, and repair electrical wiring, equipment, and fixtures. Ensure that work is in accordance with relevant codes. May install or service street lights, intercom systems, or electrical control systems.
Context covered — Residential, commercial, and industrial electrical systems; NEC code compliance; specialty contexts including controls, maintenance, paper mills, intercom and street lighting.
# | Emerging | Developing | Proficient | Advanced
| Entry / Apprentice | Mid-level / Established | Senior / Expert IC | Lead / Principal / Executive
1 | Hand tools and basic test instruments — identify and use under direct supervision on a residential job site. | Branch circuits and feeders — install routinely from prints in a commercial tenant build-out. | Three-phase services and feeder calculations — design and install across commercial and light-industrial buildings. | Electrical scopes for complex projects — design, value-engineer, and lead across industrial or institutional builds.
2 | Conductors, conduit, and fittings — pull and bend in straight runs following a journeyman's layout. | Service panels and subpanels — terminate and label correctly in residential and light-commercial work. | Control circuits (relay logic, PLC I/O) — wire, terminate, and verify in industrial maintenance settings. | Code interpretations on contested or novel installations — develop defensible positions with the AHJ.
3 | Boxes, receptacles, and switches — install per drawing on rough-in of a single-family dwelling. | Conduit bending (EMT, IMC, rigid) — fabricate offsets and saddles independently on a multi-room install. | Code compliance across NEC and local amendments — interpret and apply to non-routine commercial installations. | Power quality and arc-flash studies — commission, interpret, and act on in industrial facilities.
4 | Personal protective equipment and lockout/tagout — apply consistently in low-voltage residential settings. | Common code violations — recognize and flag during rough-in inspections of commercial spaces. | Complex faults across distribution systems — diagnose and resolve in operating industrial facilities. | Preventive-maintenance programs for plant electrical systems — establish and audit across a paper mill or similar facility.
5 | NEC tables and basic code lookups — locate the relevant article when prompted by a supervisor. | Lighting controls and dimmers — wire, test, and commission in standard commercial layouts. | Coordination with other trades — sequence electrical work in active commercial construction schedules. | Multi-crew schedules and labor budgets — plan and adjust across concurrent commercial projects.
6 | Voltage and continuity readings — take with a digital multimeter on de-energized residential circuits. | Grounding and bonding — execute per NEC Article 250 in single-phase residential services. | Service upgrades and panel replacements — plan and execute in occupied residential or commercial buildings. | Apprenticeship and journeyman development — mentor, evaluate, and sign off across a contractor's workforce.
7 | Job-site materials and stock — stage and inventory daily in a small commercial fit-out. | Motor starters and disconnects — install and verify rotation in light-industrial maintenance contexts. | Specialty systems (fire alarm, intercom, street lighting) — install and commission to specification. | Specialty controls (industrial automation, building management) — integrate and troubleshoot at system level.
8 | Basic single-line diagrams — read and trace with guidance on a residential branch circuit. | Troubleshooting (open, short, ground fault) — isolate on familiar branch-circuit problems. | Estimates and bids for mid-sized jobs — prepare from prints and walk-throughs in commercial work. | Safety culture and lockout/tagout governance — set, train, and enforce across a contractor or facility.
9 | Wire terminations and splices — make to instruction at a junction box in new construction. | Material take-offs from prints — produce for a defined room or floor under supervision. | Inspection responses and corrections — manage with the AHJ across multiple active job sites. | Customer relationships on high-stakes projects — manage scope, change orders, and outcomes with owners.
10 | Daily work logs and time entries — complete accurately under a foreman's review. | Apprentices on routine tasks — direct and check on day-to-day residential or commercial work. | Apprentices and crew — supervise on full-scope commercial projects from rough-in through trim. | Estimating standards and crew productivity rates — define and refine across a contractor's bidding practice.
n | 10 | 10 | 10 | 10

## ONET Anchors
Category | Entries
Skills | Troubleshooting · Repairing · Speaking · Critical Thinking · Active Listening · Quality Control Analysis · Judgment and Decision Making · Active Learning · Installation · Operations Monitoring · Complex Problem Solving · Monitoring · Coordination · Reading Comprehension · Writing · Mathematics · Learning Strategies · Persuasion · Equipment Maintenance · Systems Analysis · Instructing · Service Orientation · Equipment Selection · Operation and Control · Time Management
Knowledge | Building and Construction · Administration and Management · Mechanical · Mathematics · Design · Customer and Personal Service
Abilities | Problem Sensitivity · Near Vision · Deductive Reasoning · Inductive Reasoning · Finger Dexterity · Information Ordering · Oral Comprehension · Arm-Hand Steadiness · Visual Color Discrimination · Extent Flexibility
Work styles | Dependability · Cautiousness · Attention to Detail · Integrity · Perseverance · Stress Tolerance
Technology | Document management software · Computer aided design CAD software · Industrial control software · Analytical or scientific software · Project management software · Data base user interface and query software · Spreadsheet software · Office suite software · Electronic mail software · Operating system software
CIP education | 46.0302
Related titles | Electrician · Airport Electrician · Antenna Installer · Antenna Rigger · Commercial Electrician · Conduit Installer · Conduit Mechanic · Construction Electrician · Control Electrician · Conventional System Lightning Protection Technician · Diesel Electrician · Diesel Maintenance Electrician · Electric Sign Wirer · Electric Stop Installer · Electric Wirer · Electrical Installer · Electrical Journey Person · Electrical Journeyman · Electrical Maintenance Man · Electrical Maintenance Worker · Electrical Sign Servicer · Electrical Sign Wirer · Electrical System Specialist · Electrical Troubleshooter · Electrical Wirer · Electrical Wiring Lineman · Gaffer · Ground Wirer · House Wirer · Housing Maintenance Electrician · Industrial Electrician · Inside Wireman · Interior Electrician · Interior Wirer · Journeyman Electrician · Journeyman Lineman · Licensed Electrician · Lighting Fixture Installer · Lightning Protection Installer · Lightning Protection Technician · Lightning Rod Installer · Lineman · Low Voltage Technician (Low Voltage Tech) · Maintenance Electrician · Marine Electrician · Mine Wirer · Neon Electrician · Neon Installer · Neon Light Installer · Neon Sign Erector · Neon Sign Installer · Neon Sign Mechanic · Neon Sign Servicer · Neon Sign Worker · Neon Technician · Overhead Worker · Paper Mill Electrician · Plant Electrician · Production Machinery Electrician · Protective Signal Repairer · Residential Electrician · Residential Wireman · Searchlight Operator · Service Electrician · Shift Electrician · Ship and Boat Electrician · Ship Wirer · Sign Wirer · Signal Wirer · Solar Electrician · Solar Photovoltaic Electrician · Stage Electrician · Street Light Mechanic · Street Light Repairer · Street Light Servicer · Street Light Wirer · Switch Inspector · Switchboard Installer · Television Antenna Installer · Temporary Services Electrician · Test Man · Test Worker · Traffic Signal Mechanic · Traffic Signal Technician · Water Transport Electrician · Wire Hanger · Wireman · Wirer · Wiring Mechanic
RAPIDS apprenticeships | 0025 Electrician
Tasks (8 O*NET tasks)
1 | Prepare sketches or follow blueprints to determine the location of wiring or equipment and to ensure conformance to building and safety codes.
2 | Place conduit, pipes, or tubing, inside designated partitions, walls, or other concealed areas, and pull insulated wires or cables through the conduit to complete circuits between boxes.
3 | Work from ladders, scaffolds, or roofs to install, maintain, or repair electrical wiring, equipment, or fixtures.
4 | Use a variety of tools or equipment, such as power construction equipment, measuring devices, power tools, and testing equipment, such as oscilloscopes, ammeters, or test lamps.
5 | Assemble, install, test, or maintain electrical or electronic wiring, equipment, appliances, apparatus, or fixtures, using hand tools or power tools.
6 | Connect wires to circuit breakers, transformers, or other components.
7 | Maintain current electrician's license or identification card to meet governmental regulations.
8 | Plan layout and installation of electrical wiring, equipment, or fixtures, based on job specifications and local codes.

## Metadata
SOC code | 47-2111.00
Title | Electricians
O*NET group | Construction & Extraction
Industry sector | 23
Job Zone | 3
Job Zone (inferred) | no
Framework version | —
Generated by | LER.me seed framework
Exported at | 2026-05-15T12:42:33.905Z
O*NET source version | 30.2
SkillsCrosswalk source | https://skillscrosswalk.com
Generated for | NSX · National Skills Exchange