## Framework
SOC 47-2152.04 · LER.me Competency Framework
Solar Thermal Installers and Technicians
Job Zone 3 · v.26.05 · O*NET group: Construction & Extraction
Context covered — This framework covers the installation, commissioning, troubleshooting, and maintenance of solar thermal systems on residential and light-commercial buildings, from entry-level rooftop tasks through organizational leadership and workforce development.
# | Emerging | Developing | Proficient | Advanced
| Entry / Apprentice | Mid-level / Established | Senior / Expert IC | Lead / Principal / Executive
1 | Solar collector mounting hardware and hand tools — identify and stage under direct supervision on a residential rooftop installation site. | Copper and plastic plumbing systems — install using pipes, fittings, solder, flux, and plastic glue with limited oversight on residential solar thermal projects. | Complex solar thermal plumbing configurations — design and install using copper and plastic systems, selecting pipe sizing and fittings appropriate to system load across residential and light-commercial sites. | Installation standards and company-wide technical procedures — develop and enforce across all field crews to ensure consistent quality on residential and commercial solar thermal projects.
2 | Basic plumbing fittings and pipe cutters — assist with cutting and preparing copper pipe sections under journeyman guidance on a solar thermal job. | Solar collector mounting devices — secure to tile, asphalt, shingle, or built-up gravel roofs using appropriate penetration methods with routine supervision. | Non-routine plumbing, electrical, and mechanical hazards — diagnose and resolve independently by applying critical thinking and code knowledge on diverse installation environments. | Apprentices and developing technicians — mentor through structured on-the-job training programs, demonstrating advanced plumbing, mounting, and commissioning techniques on live job sites.
3 | Roof penetration locations — recognize and mark designated flashings and sealant points following a supervisor's instruction on an asphalt shingle roof. | Circulating pumps and associated plumbing — install using pipe fittings, soldering equipment, and hand tools independently on standard residential configurations. | Solar collector arrays on mixed roof types — plan and execute full installation including mounting, sealing, and collector placement without supervisory oversight on multi-zone projects. | Complex multi-zone commercial solar thermal systems — lead full-scope installation projects from site assessment through final commissioning, coordinating subcontractors and inspectors.
4 | Safety hazards related to electrical, plumbing, and roof work — identify common risks using a provided checklist before beginning a solar thermal installation. | Weather seals including flashings and sealants — apply consistently to roof penetrations and structural devices to meet weatherproofing specifications on active job sites. | System performance anomalies — troubleshoot using monitoring data, pressure tests, and control system diagnostics to restore optimal operation on commissioned solar thermal systems. | Organizational safety and hazard-mitigation protocols — design and implement to address electrical, plumbing, environmental, and fall risks across all project types and crew levels.
5 | Flat-plate and evacuated-tube solar collectors — distinguish between collector types and handle components safely under close supervision on a job site. | Mechanical, plumbing, electrical, and control systems — test for operation and functionality using standard diagnostic tools after completing a solar thermal installation. | Circulating pump assemblies and control integration — install and commission end-to-end, verifying electrical connections and pump curves against system design specifications. | Customer and stakeholder presentations — deliver authoritative technical briefings on system design, performance expectations, and maintenance obligations for large commercial and institutional clients.
6 | Acetylene torch and soldering supplies — set up and maintain under direct oversight for copper pipe soldering tasks on a residential system. | Environmental and safety hazards — assess systematically at the start of each project and communicate findings to crew members before work begins. | Customer demonstrations — deliver clear start-up, shut-down, maintenance, and safety instruction to solar thermal system owners, adapting explanations to varying technical literacy levels. | Project budgets, material inventories, and scheduling tools — manage using spreadsheet, inventory, and project management software to optimize resource allocation across a portfolio of active jobs.
7 | Installation work orders and technical diagrams — read and interpret basic instructions to locate components during an assigned solar thermal installation. | Technical manuals and manufacturer specifications — read and apply to select correct materials and methods for differing roof and collector types on varied job sites. | CAD and project management software — use to review installation drawings, track job progress, and coordinate material procurement on active solar thermal projects. | Diagnostic and troubleshooting frameworks — create and disseminate for recurring failure modes in solar thermal control, plumbing, and collector systems to reduce field resolution time organization-wide.
8 | Mechanical and plumbing system components — monitor visible operation indicators and report anomalies to a lead technician during initial system start-up. | System start-up and shut-down procedures — perform reliably on newly installed solar thermal systems and document results on job completion reports. | Equipment maintenance schedules — develop and execute for solar collectors, pumps, and heat exchangers to sustain system efficiency over long-term service agreements. | Technical curriculum and instructional materials — produce for apprenticeship or continuing-education programs, covering installation, code compliance, and system commissioning for solar thermal occupations.
9 | Pipe flashing and roof sealant materials — apply to designated penetration points following step-by-step direction on a tile or shingle roof. | Flat-plate, evacuated glass, and concentrating collectors — mount to brackets and struts on pre-installed mounting devices with accuracy and minimal rework. | Quality control inspections — conduct at each installation phase, comparing completed work against engineering drawings and code requirements before system commissioning. | Emerging collector technologies and installation methods — evaluate through active learning and applied field trials, recommending adoption decisions that align with company capabilities and market demands.
10 | Personal protective equipment and fall-arrest gear — select and don correctly before accessing rooftop work areas on residential solar thermal projects. | Time and task schedules — manage personal workflow across installation phases to meet project milestones on single-family residential solar thermal jobs. | Environmental and structural site conditions — evaluate thoroughly prior to installation to determine optimal collector orientation, mounting strategy, and penetration approach on unfamiliar buildings. | Cross-functional coordination with engineers, inspectors, and building owners — lead to resolve design conflicts, permitting issues, and code variances on high-complexity solar thermal installations.
n | 10 | 10 | 10 | 10

## ONET Anchors
Category | Entries
Skills | Installation · Reading Comprehension · Quality Control Analysis · Critical Thinking · Monitoring · Operations Monitoring · Active Listening · Speaking · Troubleshooting · Judgment and Decision Making · Time Management · Instructing · Service Orientation · Complex Problem Solving · Equipment Maintenance · Active Learning
Knowledge | Mechanical · Building and Construction · Customer and Personal Service · English Language · Engineering and Technology · Education and Training · Design · Public Safety and Security · Computers and Electronics · Production and Processing · Administration and Management · Mathematics
Abilities | Oral Comprehension · Near Vision · Speech Recognition · Written Comprehension · Extent Flexibility · Oral Expression · Problem Sensitivity · Arm-Hand Steadiness · Visual Color Discrimination · Information Ordering
Work styles | (none)
Technology | Computer aided manufacturing CAM software · Graphics or photo imaging software · Computer aided design CAD software · Project management software · Inventory management software · Spreadsheet software · Office suite software · Electronic mail software · Presentation software · Development environment software
CIP education | 46.0502 · 46.0503 · 46.0599
Related titles | Sprinkler Fitter (Automatic) · Heat Exchanger · Installer · Solar Boilers Technician · Solar Energy Technician · Solar Hot Water Installer (SHW Installer) · Solar Installation Technician · Solar Installer · Solar Insulation Technician · Solar Maintenance Technician · Solar Pool Heating Installer · Solar Power Installer · Solar System Installer · Solar Technician · Solar Thermal Installer · Solar Thermal Technician · Solar Water Heater Installer · Thermal Operator · Thermal Systems Technician · Thermal Technician
RAPIDS apprenticeships | 0062 Sprinkler Fitter (Automatic)
Tasks (8 O*NET tasks)
1 | Test operation or functionality of mechanical, plumbing, electrical, and control systems.
2 | Apply weather seal, such as pipe flashings and sealants, to roof penetrations and structural devices.
3 | Install solar collector mounting devices on tile, asphalt, shingle, or built-up gravel roofs, using appropriate materials and penetration methods.
4 | Install copper or plastic plumbing using pipes, fittings, pipe cutters, acetylene torches, solder, wire brushes, sand cloths, flux, plastic pipe cleaners, or plastic glue.
5 | Identify plumbing, electrical, environmental, or safety hazards associated with solar thermal installations.
6 | Demonstrate start-up, shut-down, maintenance, diagnostic, and safety procedures to thermal system owners.
7 | Install circulating pumps using pipe, fittings, soldering equipment, electrical supplies, and hand tools.
8 | Install flat-plat, evacuated glass, or concentrating solar collectors on mounting devices, using brackets or struts.

## Metadata
SOC code | 47-2152.04
Title | Solar Thermal Installers and Technicians
O*NET group | Construction & Extraction
Industry sector | 23
Job Zone | 3
Job Zone (inferred) | no
Framework version | v.26.05
Generated by | LER.me · v.26.05
Exported at | 2026-05-15T12:44:05.094Z
O*NET source version | 30.2
SkillsCrosswalk source | https://skillscrosswalk.com
Generated for | NSX · National Skills Exchange