## Framework
SOC 49-2095.00 · LER.me Competency Framework
Electrical and Electronics Repairers, Powerhouse, Substation, and Relay
Job Zone 3 · v.26.05 · O*NET group: Installation, Maintenance & Repair
Context covered — This framework covers inspection, testing, repair, and maintenance of electrical and electronic equipment in powerhouse, substation, and relay environments, from supervised entry-level tasks through strategic leadership of facility-wide reliability and workforce development programs.
# | Emerging | Developing | Proficient | Advanced
| Entry / Apprentice | Mid-level / Established | Senior / Expert IC | Lead / Principal / Executive
1 | Wiring diagrams and schematic drawings — read and interpret under direct supervision to support basic inspection tasks in a powerhouse or substation environment. | Wiring diagrams and testing devices — use independently to inspect and test substation and relay circuits, identifying common malfunctions with reduced oversight. | Complex electrical malfunctions in powerhouse, substation, and relay systems — troubleshoot autonomously using full diagnostic workflows, test instruments, and wiring diagrams without supervisory direction. | Facility-wide maintenance and reliability strategy — develop and direct for powerhouse, substation, and relay systems, aligning technical standards with organizational safety and uptime goals.
2 | Ohmmeters, voltmeters, and ammeters — identify and apply correctly under technician guidance to perform initial continuity and voltage checks on low-risk circuits. | Test data and meter readings — analyze routinely to diagnose equipment malfunctions and document findings using analytical or scientific software tools. | System modification effects — analyze test data independently to evaluate performance impacts, identify unintended consequences, and recommend corrective action to engineering personnel. | Competency development programs for junior and mid-level repairers — design and deliver, leveraging apprenticeship and vocational training frameworks to build workforce capability.
3 | Inspection checklists and maintenance logs — complete accurately following established templates to document test results and repair activities on assigned equipment. | Circuit breakers, brushes, and commutators — repair, replace, and clean with growing independence following manufacturer specifications and facility maintenance schedules. | Defective relay circuits — isolate, adjust, and repair with full accountability, applying advanced switch isolation techniques and interpreting multi-system interdependencies. | Technical standards, wiring diagram libraries, and maintenance procedures — author and govern to ensure consistency, accuracy, and regulatory compliance across all repair activities.
4 | Circuit breakers and basic electrical components — clean and visually inspect under supervision to support routine preventive maintenance schedules. | Relay adjustment and switch isolation procedures — execute accurately to isolate defective relays and restore normal circuit operation in familiar substation configurations. | Non-routine equipment failures — resolve by consulting engineering documentation, applying systems analysis, and integrating knowledge of mechanical, electrical, and physics principles. | Complex system modifications and capital improvement projects — evaluate from a systems analysis perspective, advising engineering and management on technical risk and feasibility.
5 | Equipment shutdown notifications — communicate clearly to facility personnel following approved protocols when directed by a senior repairer. | Maintenance and repair records — prepare and maintain in compliance with facility standards and regulatory requirements using office suite and spreadsheet software. | Comprehensive maintenance records and compliance documentation — produce and audit to meet regulatory, quality control, and facility standards using compliance and industrial control software. | Organizational quality control and inspection protocols — establish and continuously improve, using data trends from test records and compliance software to reduce repeat failures.
6 | O&M manuals and manufacturer wiring diagrams — locate and reference with guidance to identify correct component specifications during assigned repairs. | O&M manuals, schematics, and engineering guidance — consult proactively to resolve moderately complex equipment problems and verify optimum functioning of power systems. | Cable signal quality programs — design and execute end-to-end, interpreting connectivity test data across full cable runs and presenting results to operations stakeholders. | Cross-departmental equipment shutdown coordination — lead at an organizational level, negotiating outage windows with operations, safety, and management stakeholders to protect grid reliability.
7 | Hand tools and basic test instruments — handle safely and store correctly in accordance with facility safety and OSHA standards on a substation job site. | Signal quality and connectivity test results — evaluate against acceptance criteria, identify out-of-tolerance cables, and escalate findings to senior staff when needed. | CAD and analytical software — apply to review engineering designs, validate circuit modifications, and support informed decision-making on high-voltage equipment changes. | Emerging technologies and industrial control software platforms — assess and champion for adoption, translating technical evaluations into actionable recommendations for executive decision-makers.
8 | Signal quality and cable connectivity tests — perform on individual cables following step-by-step procedures and record results in designated logs. | Equipment performance characteristics — assess by comparing test data against baseline specifications to determine whether system modifications have achieved desired outcomes. | Critical safety hazards — identify and assess in live substation and relay environments, applying cautiousness and sound judgment to protect personnel and infrastructure. | Safety culture and critical-thinking practices — model and institutionalize across the maintenance workforce to reduce incident rates in high-voltage powerhouse and substation environments.
9 | Switch isolation procedures — follow written lockout/tagout protocols under supervision to safely open and close switches on identified defective relay circuits. | Equipment shutdown notifications and scheduling — coordinate with facility operations personnel to minimize disruption during planned maintenance activities. | Cross-functional troubleshooting sessions — lead by actively listening to operations and engineering personnel and synthesizing information to determine root cause and repair strategy. | Regulatory audits and compliance reviews — lead on behalf of the organization, preparing documentation, coordinating technical staff responses, and resolving findings with oversight agencies.
10 | Spreadsheet and word processing software — use to organize and enter maintenance records and test data as directed by lead technicians. | Time management and prioritization — apply to balance concurrent maintenance tasks across multiple equipment types in a live powerhouse or relay station environment. | Preventive and corrective maintenance programs — manage autonomously across assigned equipment portfolio, tracking schedules, parts, and outcomes using integrated facility software systems. | Organizational troubleshooting knowledge base — curate and expand by capturing lessons learned from non-routine failures, enabling systematic improvement in diagnostic and repair outcomes.
n | 10 | 10 | 10 | 10

## ONET Anchors
Category | Entries
Skills | Critical Thinking · Repairing · Equipment Maintenance · Troubleshooting · Reading Comprehension · Quality Control Analysis · Operations Monitoring · Complex Problem Solving · Active Listening · Speaking · Time Management · Monitoring · Judgment and Decision Making · Systems Analysis
Knowledge | Mechanical · Mathematics · Engineering and Technology · Public Safety and Security · English Language · Design · Computers and Electronics · Physics · Building and Construction · Education and Training
Abilities | Near Vision · Oral Comprehension · Problem Sensitivity · Arm-Hand Steadiness · Oral Expression · Written Comprehension · Information Ordering · Finger Dexterity · Control Precision · Visual Color Discrimination
Work styles | Attention to Detail · Dependability · Cautiousness · Integrity · Intellectual Curiosity · Stress Tolerance
Technology | Computer aided design CAD software · Analytical or scientific software · Compliance software · Spreadsheet software · Office suite software · Electronic mail software · Operating system software · Word processing software · Industrial control software · Internet browser software
CIP education | 15.0303 · 15.1702 · 46.0301 · 47.0199
Related titles | Apparatus Lineman · Corrosion Control Fitter · Corrosion Technician · Electrical and Instrumentation Technician (E and I Technician) · Electrical Maintenance Mechanic · Electrical Technician · Electrical Test Technician (Electrical Test Tech) · Field Electronics Tech (Field Electronics Technician) · Field Technician (Field Tech) · Gear Technician · Generating Station Mechanic · Generator Mechanic · Inside Wireman · Instrument and Control Technician (I and C Technician) · Instrumentation and Control Technician (I and C Technician) · Instrumentation Fitter · Lineman · Maintenance Technician · Meter Craftsman · Meter Technician · Motor Room Controller · On Site Service Tech (On Site Service Technician) · Power Generation Technician (Power Generation Tech) · Power Systems Technician (Power Systems Tech) · Power Transformer Repairer · Powerhouse Electrician · Powerhouse Mechanic · Protective Relay Technician · Relay Craftsman · Relay Engineer · Relay Operator · Relay Technician · Service Technician (Service Tech) · Substation Electrician · Substation Mechanic · Substation Technician · Substation Wireman · Test Technician · Transformer Repairer · Transmission Technician (Transmission Tech) · Wireman
RAPIDS apprenticeships | (none)
Tasks (8 O*NET tasks)
1 | Inspect and test equipment and circuits to identify malfunctions or defects, using wiring diagrams and testing devices such as ohmmeters, voltmeters, or ammeters.
2 | Prepare and maintain records detailing tests, repairs, and maintenance.
3 | Consult manuals, schematics, wiring diagrams, and engineering personnel to troubleshoot and solve equipment problems and to determine optimum equipment functioning.
4 | Analyze test data to diagnose malfunctions, to determine performance characteristics of systems, or to evaluate effects of system modifications.
5 | Open and close switches to isolate defective relays, performing adjustments or repairs.
6 | Notify facility personnel of equipment shutdowns.
7 | Repair, replace, and clean equipment and components such as circuit breakers, brushes, and commutators.
8 | Run signal quality and connectivity tests for individual cables, and record results.

## Metadata
SOC code | 49-2095.00
Title | Electrical and Electronics Repairers, Powerhouse, Substation, and Relay
O*NET group | Installation, Maintenance & Repair
Industry sector | 31-33
Job Zone | 3
Job Zone (inferred) | no
Framework version | v.26.05
Generated by | LER.me · v.26.05
Exported at | 2026-05-15T12:42:09.556Z
O*NET source version | 30.2
SkillsCrosswalk source | https://skillscrosswalk.com
Generated for | NSX · National Skills Exchange