## Framework
SOC 49-9021.00 · LER.me Competency Framework
Heating, Air Conditioning, and Refrigeration Mechanics and Installers
Job Zone 3 · v.26.05 · O*NET group: Installation, Maintenance & Repair
Context covered — This framework covers residential, light-commercial, and industrial HVAC installation, maintenance, troubleshooting, and team leadership across Job Zone 3 practice environments typical of independent service contractors and facilities maintenance organizations.
# | Emerging | Developing | Proficient | Advanced
| Entry / Apprentice | Mid-level / Established | Senior / Expert IC | Lead / Principal / Executive
1 | Electrical test equipment — identify and use under direct supervision to test circuits and components for continuity on residential HVAC installations. | Multimeters, clamp meters, and continuity testers — operate independently to diagnose electrical faults in HVAC control boards and wiring on light-commercial job sites. | Complex electrical control circuits in commercial HVAC equipment — trace, test, and repair autonomously using advanced diagnostic instruments across a full range of system types and voltages. | Departmental safety and quality standards — establish and enforce organization-wide, ensuring all technicians meet OSHA, EPA, and local code requirements across every project type.
2 | Safety procedures and worksite cleanliness standards — follow consistently under journeyman guidance on active HVAC job sites. | OSHA safety codes and EPA refrigerant handling regulations — apply routinely and without prompting to maintain compliance across residential and small-commercial service assignments. | Non-routine system malfunctions — isolate root causes through systematic troubleshooting that integrates mechanical, electrical, and refrigeration knowledge without supervisory input. | Technical training curricula for apprentice and journey-level technicians — design and deliver using adult learning principles to accelerate workforce development within the organization.
3 | Blueprints and manufacturer installation specifications — read and interpret with supervisor assistance to locate component placement on new equipment installations. | Design specifications and equipment manuals — read and apply with limited oversight to configure heating and cooling components correctly during installation projects. | Multi-system blueprints and engineering specifications — interpret independently to plan and sequence HVAC installations on large commercial or industrial construction sites. | Large-scale commercial and industrial HVAC installation projects — lead from planning through commissioning, coordinating subcontractors, inspectors, and engineering consultants to deliver on schedule and budget.
4 | Basic hand tools and refrigerant gauges — select and handle correctly under direction during introductory HVAC service tasks. | Heating and cooling system malfunctions — discuss directly with building occupants using active listening skills to narrow the scope of diagnosis before beginning repairs. | Building owners and facility managers — consult with directly to gather malfunction histories, clarify operational expectations, and confirm that completed repairs have resolved reported issues. | Organizational preventive maintenance strategy — develop and oversee across an entire service portfolio, using data analytics and CRM platforms to drive equipment reliability and contract retention.
5 | Fuel, water, and refrigerant supply lines — connect to heating and cooling equipment under close supervision to complete a basic circuit. | Refrigerant lines, gas piping, and condensate drains — connect and pressure-test with standard tools to form complete, leak-free systems on replacement equipment jobs. | Refrigerant recovery, evacuation, and recharge procedures — perform in full compliance with EPA Section 608 regulations across multiple refrigerant types on commercial refrigeration systems. | Complex diagnostic and repair decisions — guide senior technicians on, applying systems analysis and judgment to resolve novel or high-stakes malfunctions that exceed standard troubleshooting protocols.
6 | System control settings — adjust to manufacturer-recommended values following step-by-step technician guidance during equipment startup. | Thermostat and control panel settings — adjust systematically after installation to balance airflow and temperature distribution across residential duct systems. | Variable-speed drives, economizers, and BAS integration points — commission and calibrate to optimize energy performance and system balance in complex multi-zone commercial installations. | Energy efficiency upgrades and equipment replacement proposals — author and present to facility owners and executives, integrating ROI modeling, regulatory incentives, and lifecycle cost analysis.
7 | Filters, belts, and accessible HVAC components — clean and replace under supervision as part of a structured preventive maintenance checklist. | Preventive maintenance schedules — execute independently, including coil cleaning, lubrication, and filter changes, to sustain equipment efficiency on assigned accounts. | Comprehensive preventive maintenance programs — develop, recommend, and execute for commercial accounts, including predictive indicators such as vibration checks and refrigerant subcooling analysis. | Quality control inspection programs — design and implement across all service and installation work to ensure consistent compliance with plans, specifications, and company workmanship standards.
8 | Customer-reported malfunctions — record and relay accurately to a lead technician to support initial problem isolation on service calls. | Installed HVAC systems — inspect and functionally test against plan specifications to verify code compliance and detect operational deficiencies before customer sign-off. | Installed systems — evaluate against quality control standards using analytical methods to verify performance specifications and document findings in detailed technical reports. | HVAC department performance metrics — define, monitor, and report to senior leadership, using business intelligence and facilities management software to drive continuous operational improvement.
9 | Electrical, mechanical, and refrigerant system components — distinguish by function and name during orientation-level training on commercial and residential equipment. | Service records and maintenance logs — document accurately using facilities management or CRM software to support scheduling and warranty tracking for a recurring client base. | CAD drawings and system schematics — produce or redline accurately to reflect as-built conditions and support future service on complex HVAC projects. | Industry relationships with equipment manufacturers and trade associations — cultivate to influence product selection decisions, access advanced technical resources, and represent the organization in professional forums.
10 | Troubleshooting workflows — apply entry-level diagnostic steps under supervision to identify obvious faults such as tripped breakers or clogged filters on HVAC systems. | Common mechanical and refrigeration faults — diagnose using deductive reasoning and manufacturer troubleshooting guides to complete routine repairs with minimal supervision. | Emerging HVAC technologies and code changes — integrate proactively into daily practice through self-directed learning to maintain expert-level competency across evolving equipment platforms. | Workforce staffing plans and career pathways for HVAC technicians — develop in alignment with organizational growth goals, mentoring high-potential individuals into supervisory and specialist roles.
n | 10 | 10 | 10 | 10

## ONET Anchors
Category | Entries
Skills | Operations Monitoring · Troubleshooting · Critical Thinking · Installation · Repairing · Reading Comprehension · Quality Control Analysis · Active Listening · Complex Problem Solving · Equipment Maintenance · Speaking · Active Learning · Monitoring · Judgment and Decision Making · Systems Analysis · Systems Evaluation · Coordination · Equipment Selection · Operation and Control · Social Perceptiveness
Knowledge | Mechanical · Building and Construction · Customer and Personal Service · Engineering and Technology · Computers and Electronics · English Language · Public Safety and Security · Physics · Design · Mathematics · Administration and Management · Education and Training
Abilities | Near Vision · Problem Sensitivity · Deductive Reasoning · Visual Color Discrimination · Oral Comprehension · Finger Dexterity · Arm-Hand Steadiness · Manual Dexterity · Inductive Reasoning · Visualization
Work styles | Dependability · Attention to Detail · Cautiousness · Perseverance · Integrity · Stress Tolerance
Technology | Document management software · Industrial control software · Word processing software · Computer aided design CAD software · Facilities management software · Customer relationship management CRM software · Data base user interface and query software · Graphics or photo imaging software · Electronic mail software · Internet browser software
CIP education | 15.0501 · 47.0201
Related titles | Refrigeration Mechanic · HVAC Mechanic · HVAC Technician · A/C Installer-Servicer (Air Conditioning Installer-Servicer) · A/C Mechanic (Air Conditioner Mechanic) · A/C Service Tech (Air Conditioning Service Technician) · A/C Tech (Air Conditioning Technician) · Air and Hydronic Balancing Technician · Air Conditioning Specialist (A/C Specialist) · Attic Fans Mechanic · Baseboard Heating Installer · Blower Installer · Blower Mechanic · Bulk Cooler Installer · Commercial HVAC Service Tech (Commercial Heating, Ventilation, and Air Conditioning Service Technician) · Commercial HVAC Tech (Commercial Heating, Ventilation, and Air Conditioning Technician) · Commercial Refrigeration Service Tech (Commercial Refrigeration Service Technician) · Cooling Technician (Cooling Tech) · Duct Cleaner · Environmental Control System Installer · Environmental Control System Servicer · Evaporative Cooler Installer · Fan Installer · Furnace Converter · Furnace Erector · Furnace Fitter · Furnace Gas Appliance Mechanic · Furnace Installer · Furnace Mechanic · Furnace Repairer · Furnace Setter · Gas Adjuster · Gas Furnace Installer · Heat Pump Installer · Heater Installer · Heater Mechanic · Heating and Air Conditioning Installer · Heating and Air Conditioning Servicer · Heating and Air Conditioning Technician (Heating and Air Conditioning Tech) · Heating Equipment Installer · Heating Installer · Heating Repair Technician (Heating Repair Tech) · Heating Servicer · Heating Systems Installer · Heating Technician (Heating Tech) · Heating Unit Mechanic · Heating, Ventilation, Air Conditioning, and Refrigeration Technician · Heating, Ventilation, and Air Conditioning Control Technician · Heating, Ventilation, and Air Conditioning Operations Technician · Hot Air Furnace Installer · Hot Air Furnace Repairer · HVAC Controls Technician (Heating, Ventilation, and Air Conditioning Controls Technician) · HVAC Installer (Heating, Ventilation, and Air Conditioning Installer) · HVAC Journeyman (Heating, Ventilation, and Air Conditioning Journeyman) · HVAC Maintenance Technician (Heating, Ventilation, and Air Conditioning Maintenance Technician) · HVAC Mechanic (Heating, Ventilation, and Air Conditioning Mechanic) · HVAC Refrigeration Technician (Heating, Ventilation, and Air Conditioning Refrigeration Technician) · HVAC Service Tech (Heating, Ventilation, and Air Conditioning Service Technician) · HVAC Specialist (Heating, Ventilation, and Air Conditioning Specialist) · HVAC Tech (Heating, Ventilation, and Air Conditioning Technician) · HVAC-R Service Tech (Heating, Ventilation, Air Conditioning, and Refrigeration Service Technician) · Installer · Maintenance Mechanic · Mechanic · Oil Burner Installer · Oil Burner Mechanic · Oil Burner Repairer · Oil Burner Servicer · Oil Burner Technician (Oil Burner Tech) · Oil Furnace Installer · Oil Heat Technician (Oil Heat Tech) · Oil Heater Installer · Refrigeration and Appliance Repair Tech (Refrigeration and Appliance Repair Technician) · Refrigeration Engineer · Refrigeration Installer · Refrigeration Operator · Refrigeration Service Technician (Refrigeration Service Tech) · Refrigeration Systems Installer · Refrigeration Technician (Refrigeration Tech) · Refrigeration Unit Repairer · Renewable Energy Technician (Renewable Energy Tech) · Repair Servicer · Residential Heating and Air Conditioning Installer (Residential Heating and A/C Installer) · Residential HVAC Service Technician (Residential Heating, Ventilation, and Air Conditioning Service Technician) · Service Technician (Service Tech) · Service Tester · Stoker Erector · Stoker Installer · Stoker Mechanic · Systems Mechanic · Transportation Refrigeration Technician (Transportation Refrigeration Tech) · Ventilating Equipment Installer
RAPIDS apprenticeships | 0127 Refrigeration Mechanic · 0205 HVAC Mechanic · 0206 HVAC Technician
Tasks (8 O*NET tasks)
1 | Test electrical circuits or components for continuity, using electrical test equipment.
2 | Comply with all applicable standards, policies, or procedures, such as safety procedures or the maintenance of a clean work area.
3 | Study blueprints, design specifications, or manufacturers' recommendations to ascertain the configuration of heating or cooling equipment components and to ensure the proper installation of components.
4 | Discuss heating or cooling system malfunctions with users to isolate problems or to verify that repairs corrected malfunctions.
5 | Connect heating or air conditioning equipment to fuel, water, or refrigerant source to form complete circuit.
6 | Adjust system controls to settings recommended by manufacturer to balance system.
7 | Recommend, develop, or perform preventive or general maintenance procedures, such as cleaning, power-washing, or vacuuming equipment, oiling parts, or changing filters.
8 | Inspect and test systems to verify system compliance with plans and specifications or to detect and locate malfunctions.

## Metadata
SOC code | 49-9021.00
Title | Heating, Air Conditioning, and Refrigeration Mechanics and Installers
O*NET group | Installation, Maintenance & Repair
Industry sector | 23
Job Zone | 3
Job Zone (inferred) | no
Framework version | v.26.05
Generated by | LER.me · v.26.05
Exported at | 2026-05-15T12:44:10.592Z
O*NET source version | 30.2
SkillsCrosswalk source | https://skillscrosswalk.com
Generated for | NSX · National Skills Exchange