## Framework
SOC 49-9081.00 · LER.me Competency Framework
Wind Turbine Service Technicians
Job Zone 3 · v.26.05 · O*NET group: Installation, Maintenance & Repair
Context covered — This framework covers installation, maintenance, and repair competencies for wind turbine service technicians working at utility-scale and commercial wind energy facilities, spanning routine preventive maintenance, complex fault diagnosis, tower climb operations, and organizational leadership.
# | Emerging | Developing | Proficient | Advanced
| Entry / Apprentice | Mid-level / Established | Senior / Expert IC | Lead / Principal / Executive
1 | Wind turbine safety protocols — recognize and apply under direct supervisor guidance during initial tower climb assessments at an active wind farm. | Variable pitch and variable speed control systems — troubleshoot common faults using diagnostic checklists and industrial control software with reduced oversight at a wind farm. | Complex mechanical, hydraulic, and electrical malfunctions — diagnose and repair autonomously across variable pitch, converter, and speed control systems under operational conditions at a utility-scale wind farm. | Site-wide maintenance strategy — design and implement preventive and predictive maintenance programs across entire wind turbine fleets using ERP and facilities management platforms to optimize asset availability.
2 | Basic hand tools and personal protective equipment — select and use correctly under technician supervision during routine maintenance tasks on turbine nacelles. | Electrical test equipment including oscilloscopes and infrared testers — apply independently to diagnose wiring and component faults in converter systems during scheduled maintenance cycles. | Non-routine generator and control system faults — apply systems analysis and deductive reasoning to isolate root causes and implement lasting corrective actions without engineering escalation. | Technical standards and best practices — develop and update site maintenance procedures, work instructions, and test plans in coordination with engineers to reflect evolving turbine technology.
3 | Voltage testers and multimeters — identify correct usage and perform basic electrical measurements under close oversight on ground-level wind turbine components. | Routine preventive maintenance tasks — perform oil changes, filter replacements, and bolt torque checks on wind turbine drivetrains according to manufacturer intervals at assigned sites. | Full-scope electrical diagnostics — deploy voltage testers, multimeters, oscilloscopes, and infrared testers in coordinated test sequences to validate turbine system health against engineering test plans. | Organizational training programs — build and lead structured apprenticeship and on-the-job training curricula that advance technician competency from emerging to proficient levels across a regional service territory.
4 | Routine maintenance checklists — follow step-by-step procedures to inspect mechanical and hydraulic systems under direct technician guidance at a wind field site. | Underground transmission system components — inspect, test, and document condition findings using facilities management software during periodic field maintenance rounds. | Wind field substation equipment — independently inspect, test, and restore electrical and mechanical substation components to specification during planned and emergency maintenance windows. | Complex failure investigations — lead multi-disciplinary root cause analyses of systemic turbine failures and present findings and corrective action plans to engineering and operations leadership.
5 | Wind turbine tower climbing protocols — execute personal fall-arrest equipment checks and ascent procedures under supervision at a commercial wind facility. | Wind turbine generator control systems — diagnose recurring operational faults and apply corrective actions using site-specific service bulletins with minimal supervisor involvement. | Turbine restart and commissioning — lead startup sequences after major repairs, verify control system responses, and confirm operational parameters meet performance thresholds at live wind sites. | Contractor and vendor management — evaluate and oversee third-party service providers performing specialized repairs or upgrades to wind turbine systems against contractual performance and safety standards.
6 | Spare parts and tool inventories — assist in counting, labeling, and organizing components in a site maintenance warehouse under lead technician direction. | Tower climb inspections — conduct solo ascents to visually assess blade, hub, and nacelle conditions and log findings in a database interface at an operational wind facility. | Technical documentation and reporting — produce detailed maintenance reports, failure analyses, and trend data using spreadsheet and database tools to inform site reliability decisions. | Capital planning and parts lifecycle management — advise operations management on spare parts stocking strategies, component replacement schedules, and procurement priorities to minimize turbine downtime costs.
7 | Technical service manuals and wiring diagrams — read and interpret basic diagrams to identify component locations under supervisor direction on assigned turbine units. | Hydraulic system malfunctions — identify root causes and execute standard repair procedures on pitch actuators and braking systems during scheduled downtime at a utility wind site. | Predictive maintenance indicators — interpret vibration data, thermal imaging outputs, and SCADA monitoring alerts to schedule proactive interventions before failures occur on assigned turbine fleets. | Cross-functional project coordination — direct multi-technician teams during major overhauls or turbine upgrades, managing scope, schedule, and safety compliance using project management software.
8 | Wind turbine startup sequences — observe and assist in executing restart procedures following maintenance under direct technician supervision at a utility-scale wind site. | Fiber optic sensing and control systems — perform routine functional tests and connection checks using specialized fiber optic equipment during substations maintenance visits. | Cross-system troubleshooting — integrate knowledge of mechanical, electrical, and software domains to resolve multi-system faults affecting turbine availability within contractual uptime commitments. | Regulatory and environmental compliance leadership — ensure all field maintenance activities satisfy applicable safety, environmental, and utility interconnection regulations across a multi-site wind energy portfolio.
9 | Maintenance records and work orders — document completed inspection tasks using enterprise resource planning software under guidance from an experienced technician. | Spare parts inventory accuracy — maintain real-time stock levels in ERP software and generate replenishment requests to sustain uninterrupted repair readiness at a multi-turbine site. | Safety and regulatory compliance — enforce site-specific lockout/tagout procedures and public safety standards independently during all maintenance and repair activities at commercial wind facilities. | Performance benchmarking and continuous improvement — analyze fleet-level SCADA and maintenance data to identify systemic efficiency gaps and lead initiatives that raise turbine availability and reduce mean time to repair.
10 | Basic mechanical components — identify gearbox, rotor blades, and pitch system parts by name and function during introductory hands-on training at a wind energy facility. | Safety and quality control checks — apply post-maintenance verification steps to confirm system integrity before turbine restart in accordance with site test plans. | Mentorship of junior technicians — guide emerging and developing technicians through diagnostic procedures and tower climb protocols during live work assignments at a wind energy site. | Knowledge transfer and industry engagement — represent the organization in technical working groups or industry forums, contributing field expertise to advance wind turbine maintenance standards and technician career pathways.
n | 10 | 10 | 10 | 10

## ONET Anchors
Category | Entries
Skills | Troubleshooting · Repairing · Operations Monitoring · Equipment Maintenance · Critical Thinking · Reading Comprehension · Quality Control Analysis · Monitoring · Complex Problem Solving · Operation and Control · Judgment and Decision Making · Active Learning · Systems Analysis · Systems Evaluation · Active Listening · Speaking · Time Management · Learning Strategies · Equipment Selection · Instructing · Coordination
Knowledge | Mechanical · Computers and Electronics · English Language · Public Safety and Security · Engineering and Technology · Education and Training · Administration and Management · Mathematics · Building and Construction · Physics
Abilities | Problem Sensitivity · Finger Dexterity · Near Vision · Oral Comprehension · Manual Dexterity · Arm-Hand Steadiness · Deductive Reasoning · Information Ordering · Inductive Reasoning · Oral Expression
Work styles | Dependability · Cautiousness · Attention to Detail · Perseverance · Adaptability · Stress Tolerance
Technology | Analytical or scientific software · Facilities management software · Enterprise resource planning ERP software · Industrial control software · Data base user interface and query software · Spreadsheet software · Office suite software · Electronic mail software · Presentation software · Project management software
CIP education | 15.1704 · 47.0303 · 47.0701 · 47.0704
Related titles | Wind Turbine Service Technician · Commissioning Tech (Commissioning Technician) · Energy Technician · Field Service Technician · Offshore Wind Turbine Technician · Onsite Technician (Onsite Tech) · Renewable Energy Specialist · Renewable Energy Technician · Service Technician · Small Wind Energy Installer · Troubleshooter · Troubleshooting Technician · Turbine Technician · Wind Commissioning Technician · Wind Energy Mechanic · Wind Energy Systems Installer · Wind Energy Technician · Wind Farm Support Specialist · Wind Generating Electric Power Installer · Wind Plant Technician · Wind Power Technician · Wind Technician · Wind Turbine Blade Composite Technician (Wind Turbine Blade Composite Tech) · Wind Turbine Blade Repair Technician · Wind Turbine Installer · Wind Turbine Mechanic · Wind Turbine Operator · Wind Turbine Technician · Wind Turbine Troubleshooting Technician · Windmill Technician · Windsmith
RAPIDS apprenticeships | 0217 Wind Turbine Service Technician
Tasks (8 O*NET tasks)
1 | Troubleshoot or repair mechanical, hydraulic, or electrical malfunctions related to variable pitch systems, variable speed control systems, converter systems, or related components.
2 | Perform routine maintenance on wind turbine equipment, underground transmission systems, wind fields substations, or fiber optic sensing and control systems.
3 | Diagnose problems involving wind turbine generators or control systems.
4 | Test electrical components of wind systems with devices, such as voltage testers, multimeters, oscilloscopes, infrared testers, or fiber optic equipment.
5 | Start or restart wind turbine generator systems to ensure proper operations.
6 | Climb wind turbine towers to inspect, maintain, or repair equipment.
7 | Maintain tool and spare parts inventories required for repair, installation, or replacement services.
8 | Test structures, controls, or mechanical, hydraulic, or electrical systems, according to test plans or in coordination with engineers.

## Metadata
SOC code | 49-9081.00
Title | Wind Turbine Service Technicians
O*NET group | Installation, Maintenance & Repair
Industry sector | 81
Job Zone | 3
Job Zone (inferred) | no
Framework version | v.26.05
Generated by | LER.me · v.26.05
Exported at | 2026-05-15T12:42:06.905Z
O*NET source version | 30.2
SkillsCrosswalk source | https://skillscrosswalk.com
Generated for | NSX · National Skills Exchange