## Framework
SOC 51-8013.00 · LER.me Competency Framework
Power Plant Operators
Job Zone 2 · v.26.05 · O*NET group: Production
Context covered — This framework covers power plant operations in utility and industrial settings where operators manage boilers, turbines, generators, and auxiliary systems to produce and regulate electrical power, calibrated to Job Zone 2 vocational preparation and on-the-job learning pathways.
# | Emerging | Developing | Proficient | Advanced
| Entry / Apprentice | Mid-level / Established | Senior / Expert IC | Lead / Principal / Executive
1 | Control board indicators and gauge readings — identify and report normal versus abnormal values under direct supervisor guidance during a power plant shift. | Generator output — adjust phase, frequency, and voltage controls with limited supervision to maintain stable electricity supply to distribution panels. | Generator output stability — autonomously control and fine-tune phase, frequency, and voltage across varying load conditions to match panel requirements throughout a full shift. | Plant-wide operational strategy — direct daily and long-term operations of all generating and auxiliary systems to meet safety, regulatory, and production targets at organizational scale.
2 | Generator output controls — observe and assist in matching phase, frequency, and voltage to panel requirements under close technician supervision. | Charts, meters, and gauges — take scheduled regulatory readings and initiate corrective actions within established operating parameters during a standard shift. | Abnormal plant conditions — apply critical thinking and deductive reasoning to diagnose complex equipment problems and implement corrective actions without supervisor direction. | Operating procedure development — author and revise control board procedures, startup and shutdown checklists, and emergency response protocols based on operational experience and regulatory updates.
3 | Power plant equipment start and stop sequences — follow written step-by-step procedures to start or stop generators and auxiliary pumping units with direct oversight. | Control boards and semi-automatic equipment — operate to manage boilers, turbines, and generators through routine load changes with minimal direction. | Full range of power generating equipment — operate boilers, turbines, generators, and reactors across all load states using control boards and semi-automatic systems independently. | Workforce training and mentorship — design and deliver structured on-the-job training for emerging and developing operators on control systems, equipment operation, and safety compliance.
4 | Valves and switches — open and close in prescribed sequences to initiate or shut down auxiliary units as directed by a senior operator. | Auxiliary equipment including compressors, condensers, and feedwater heaters — maintain and adjust independently to sustain proper plant support functions. | Startup and shutdown evolutions — lead the complete sequencing of generators, turbines, and auxiliary pumping equipment safely under both planned and emergency conditions. | Complex and non-routine incident response — lead multi-crew troubleshooting and recovery efforts for major equipment failures or grid disturbances, exercising senior judgment under pressure.
5 | Boiler, turbine, and reactor status — monitor assigned control board instruments and verbally report deviations to a lead operator in real time. | Equipment malfunctions — apply basic troubleshooting steps to identify the source of operating problems and escalate non-routine issues appropriately. | Distributed energy systems including microturbines and fuel cells — operate and maintain on-site generation assets to meet commercial or manufacturing energy demands. | Regulatory and compliance oversight — interpret new public safety and environmental regulations, assess plant impact, and implement procedural changes across the operating team.
6 | Auxiliary equipment including pumps, fans, and filters — assist in routine operation under supervision to supply water, fuel, and lubricants as needed. | Valve and switch sequences — execute startup and shutdown procedures for auxiliary units from memory, cross-checking against written procedures as needed. | Regulatory compliance actions — evaluate meter and chart data, identify deviations, and execute required corrective or reporting actions within mandated timeframes. | Performance monitoring and quality control — analyze operational data trends using analytical and facilities management software to identify reliability risks and drive continuous improvement.
7 | Regulatory log entries — record chart, meter, and gauge readings at scheduled intervals using established forms and under direct instruction. | Distributed power generation equipment such as fuel cells and microturbines — operate under general supervision to produce on-site energy for facility use. | Auxiliary system integrity — monitor and maintain pumps, compressors, condensers, chlorinators, and filters to ensure uninterrupted supply of water, fuel, lubricants, and air. | Distributed generation integration — evaluate and oversee the deployment and optimization of fuel cell and microturbine assets within the broader plant energy management strategy.
8 | Facilities management and industrial control software — navigate basic screens and enter data entries with guidance from an experienced operator. | Shift logs and compliance documentation — complete accurately using industrial control software and word processing tools at the end of each operating cycle. | Equipment repair and maintenance — troubleshoot mechanical failures, coordinate or perform repairs, and verify restored operation meets plant performance standards. | Interdepartmental coordination — represent plant operations in cross-functional meetings with engineering, maintenance, and management teams to align on outage planning and capital projects.
9 | Safety and emergency protocols — recognize posted hazard warnings and follow established shutdown checklists in a live plant environment. | Oral communication with shift supervisors — relay equipment status and emerging concerns clearly and promptly during handover briefings. | Industrial control and analytical software — use advanced system features to trend operational data, identify efficiency gaps, and support shift performance reviews. | Operator competency assessment — evaluate staff proficiency at each mastery level, recommend advancement or additional training, and maintain qualification records for regulatory audits.
10 | Hand tools and basic maintenance instruments — use under supervision to support routine equipment inspection tasks on power plant auxiliary systems. | Routine preventive maintenance tasks — perform on pumps, filters, and fans according to scheduled maintenance plans with occasional supervisor check-ins. | Cross-shift coordination — communicate technical findings and handover information precisely to oncoming crews to maintain continuity of safe plant operations. | Safety culture leadership — model and reinforce cautiousness, integrity, and stress-tolerance standards across all shifts, ensuring plant personnel uphold operational discipline in all conditions.
n | 10 | 10 | 10 | 10

## ONET Anchors
Category | Entries
Skills | Operations Monitoring · Operation and Control · Critical Thinking · Speaking · Active Listening · Monitoring · Complex Problem Solving · Reading Comprehension · Quality Control Analysis · Judgment and Decision Making · Troubleshooting · Repairing · Equipment Maintenance · Writing · Coordination
Knowledge | Mechanical · Public Safety and Security · English Language · Production and Processing · Chemistry · Physics · Engineering and Technology
Abilities | Problem Sensitivity · Oral Comprehension · Deductive Reasoning · Near Vision · Oral Expression · Perceptual Speed · Information Ordering · Inductive Reasoning · Written Comprehension · Manual Dexterity
Work styles | Cautiousness · Attention to Detail · Dependability · Stress Tolerance · Self-Control · Integrity
Technology | Facilities management software · Industrial control software · Electronic mail software · Analytical or scientific software · Data base user interface and query software · Spreadsheet software · Office suite software · Presentation software · Word processing software · Operating system software
CIP education | 15.1702 · 15.1705
Related titles | Asphalt Plant Operator · Auxiliary Equipment Tender · Auxiliary Operator · Auxiliary Power Equipment Operator · Batch Plant Operator · Booster Operator · Booster Plant Operator · Booster Pump Operator · Carbon Capture Power Plant Engineer · Carbon Capture Power Plant Operator · Carbon Sequestration Plant Engineer · Carbon Sequestration Plant Operator · Coal Gasification Technician (Coal Gasification Tech) · Cogeneration Technician (Cogeneration Tech) · Control Center Operator · Control Operator · Control Room Operator · Electric Operator · Energy and Sustainability Manager · Energy Manager · Energy Program Manager · Generator Operator · High Pressure Firer · Hydro Plant Operator · Hydro Station Operator · Hydroelectric Operator · Hydroelectric Plant Operator · Hydroelectric Plant Power Generation Engineer · Hydroelectric Station Operator · Hydrogen Plant Operator · Hydrogen Power Plant Engineer · ICE Technician (Instrumentation, Controls, and Electrical Systems Technician) · Instrument and Control Technician (Instrument and Control Tech) · Landfill Gas Collecting System Technician (Landfill Gas Collecting System Tech) · Landfill Gas Collection System Technician (Landfill Gas Collection System Tech) · Landfill Gas Generating System Technician (Landfill Gas Generating System Tech) · Landfill Gas Generation System Technician (Landfill Gas Generation System Tech) · Landfill Gas Plant Field Technician (Landfill Gas Plant Field Tech) · Landfill Gas Systems Monitor · Landfill Gas Technician (Landfill Gas Tech) · Methane Gas Generating System Technician (Methane Gas Generating System Tech) · Methane Gas Generation System Technician (Methane Gas Generation System Tech) · Multicraft Operator (MCO) · Natural Gas Technician (Natural Gas Tech) · Operations and Maintenance Specialist (O and M Specialist) · Operations and Maintenance Technician (O and M Tech) · Operations and Management Technician (Operations and Management Tech) · Operator · Outside Plant Technician (Outside Plant Tech) · Pilot Plant Technician (Pilot Plant Tech) · Plant Control Operator · Plant Operator · Plant Technician (Plant Tech) · Power Generating Plant Operator · Power Generation Technician (Power Generation Tech) · Power Operator · Power Plant Control Room Operator · Power Plant Operator · Power Plant Technician (Power Plant Tech) · Power Station Operator · Powerhouse Attendant · Powerhouse Operator · Powerhouse Tender · Production Generalist · Rectifier · Rectifier Operator · Relief Operator · Renewable Energy Manager · Shift Operator · Solar Energy Manager · Station Operator · Station Tender · Steam Turbine Operator · Turbine Operator · Turbine Room Attendant · Turbo Electric Operator · Turbo Operator · Unit Operator · Utility Plant Operator · Water Plant Operator · Wellfield Technician (Wellfield Tech)
RAPIDS apprenticeships | (none)
Tasks (8 O*NET tasks)
1 | Control generator output to match the phase, frequency, or voltage of electricity supplied to panels.
2 | Take regulatory action, based on readings from charts, meters and gauges, at established intervals.
3 | Control power generating equipment, including boilers, turbines, generators, or reactors, using control boards or semi-automatic equipment.
4 | Start or stop generators, auxiliary pumping equipment, turbines, or other power plant equipment as necessary.
5 | Monitor power plant equipment and indicators to detect evidence of operating problems.
6 | Operate or maintain distributed power generation equipment, including fuel cells or microturbines, to produce energy on-site for manufacturing or other commercial purposes.
7 | Open and close valves and switches in sequence to start or shut down auxiliary units.
8 | Control or maintain auxiliary equipment, such as pumps, fans, compressors, condensers, feedwater heaters, filters, or chlorinators, to supply water, fuel, lubricants, air, or auxiliary power.

## Metadata
SOC code | 51-8013.00
Title | Power Plant Operators
O*NET group | Production
Industry sector | 22
Job Zone | 2
Job Zone (inferred) | no
Framework version | v.26.05
Generated by | LER.me · v.26.05
Exported at | 2026-05-15T12:43:30.674Z
O*NET source version | 30.2
SkillsCrosswalk source | https://skillscrosswalk.com
Generated for | NSX · National Skills Exchange